## Slide 1: Inorganic Analysis
Chapter 6

## Slide 2: Inorganic
Non-carbon containing substances
Many manufactured goods contain small quantities of elements present in concentrations of less than 1% = trace elements

## Slide 3: Trace elements
= Invisible markers
May establish the source of the material or at least more points for comparison
Elements selectively absorb and emit light

## Slide 4: Emission spectrograph
Light emitted from an element source
is passed through a prism, it separates into component colors or frequencies
  = emission spectrum or line spectrum is a fingerprint

## Slide 5: Line Spectrums
To get to an excited state, energy is added in the form of electricity or heat

## Slide 6: Line spectrums
From sunlight we see a continuous spectrum
In a line spectrum, each line
has a definite wavelength and frequency

## Slide 7: Atomic Absorption
Sample of atoms is vaporized
Absorbs many of the same frequencies of light emitted when in an excited state
= selective absorption of light
Can be used to determine concentration
Figure 6-5

## Slide 8: Origin of Emission and Absorption Spectra
Atoms, the fundamental and smallest particle of each element
Subatomic particles:
  protons
  neutrons
  electrons

## Slide 9: Radioactivity
Unstable isotopes decompose with time and emit radiation
3 types of radiation:
  alpha particles (helium atom with no e-)
  beta particles (e-)
  gamma rays

## Slide 10: Inorganic Analysis Techniques
Neutron Activation Analysis
  Specimen is bombarded with neutrons and resulting gamma ray radioactivity is measured
  A nondestructive method for identifying and quantitating trace elements down to 1 ng
  20 to 30 elements can be analyzed simultaneously

## Slide 11: Neutron Activation Analysis
Expensive
High regulatory requirements
Sophisticated analyzers are required
Few crime labs have access

## Slide 12: Diffraction
A beam of x-rays is aimed at a crystal
By studying how the X-rays interact with the atoms in the substance an identification can be made
Substance must be solid and crystalline of which 95% of inorganic substances are
Every compound produces a unique diffraction pattern

## Slide 13: X-ray diffraction
Questioned specimen X-ray pattern can be compared to known X-ray pattern for a quick and specific identity determination
Figure 6-11
X-ray diffraction does lack sensitivity so it works well for major components but not trace elements (present at <5%)