## Slide 1: Inorganic Analysis
Chapter 6

## Slide 2: Inorganic
Non-carbon containing substances
Many manufactured goods contain small quantities of elements present in concentrations of less than 1% = trace elements

## Slide 3: Trace elements
= Invisible markers
May establish the source of the material or at least more points for comparison
Elements selectively absorb and emit light

## Slide 4: Emission spectrograph
Light emitted from an element source
is passed through a prism, it separates into component colors or frequencies
  = emission spectrum or line spectrum is a fingerprint

## Slide 5: Line Spectrums
To get to an excited state, energy is added in the form of electricity or heat

## Slide 6: Line spectrums
From sunlight we see a continuous spectrum
In a line spectrum, each line
has a definite wavelength and frequency

## Slide 7: Figure 13–4 Some characteristic emission spectra.

## Slide 8: Elemental Analysis: Figure 13–1 The presence of trace elements in glass as shown above can be used to identify glass types.

## Slide 9: Figure 13–2 The presence of trace elements in glass as shown here can be used to discriminate between glass particles that are indistinguishable by other test protocols, such as refractive index.

## Slide 10: Figure 13–5 The atomic structures of hydrogen and helium.

## Slide 11: Figure 13–6 The creation of charged particles in the torch of an ICP discharge.

## Slide 12: Figure 13–7 Isotopes of hydrogen.