## Slide 1: Analytical Techniques
Used to identify or compare matter
Different techniques exist for organic or inorganic substances
Most analysis in a forensic lab involves organic analysis

## Slide 2: Organic versus Inorganic
Organic: contains carbon
Inorganic: does not contain carbon

## Slide 3: Organic Functional Groups
A functional group has a characteristic structural feature or a unique arrangement
Carbon often bonds to hydrogen, oxygen or nitrogen
Functional groups are a group of atoms showing similar behavior in a chemical reaction (drug color tests) and absorb light at a particular wavelength (ex. IR spectrum)

## Slide 4: Organic Analysis
Nature of bonds in organic compounds can be easily characterized by their absorption of light
Spectrophotometry: study of the absorption of light by chemical substances
  Characterizes and identifies organic materials
To analyze a substance, it must be relatively pure

## Slide 5: Spectrophotometry
The study of the absorption of light by chemical substances
Characterizes and identifies organic materials

## Slide 6: The nature of light: 2 models
Light is a continuous wave
Light is a stream of continuous particles

## Slide 7: The wave nature of light
Wavelength (λ) = distance between two consecutive crests or troughs of a wave
Frequency (ν) = # crests or troughs passing a given point in a unit of time
  Units are cycles per second or Hertz (Hz)

## Slide 8: Wavelength and frequency
λ * ν = c
where c = speed of light in a vacuum = 3.00*108 m/s
As wavelength increases, frequency decreases
Different colors of light have different wavelengths and frequencies

## Slide 9: Electromagnetic Spectrum

## Slide 10: Spectrophotometry:
Basic components:
Measures the quantity of radiation a material absorbs as a function of wavelength or energy

## Slide 11: Important light sources for forensics:
Visible, infrared (IR), ultraviolet (UV)
Generates a “fingerprint” for a substance

## Slide 12: Examples of spectrums
UV and visible spectrums are simple compared to IR spectrums, provide probable ID, TLC or GC confirms
UV spectrum of
heroin
Compare to
IR spectrum in
Figure 5-19

## Slide 13: The ultraviolet spectrum of amphetamine

## Slide 14: Infrared spectrum of heroin.

## Slide 15: Infrared spectrum of secobarbital.