## Slide 1
Commercial Buildings Energy Assessment Program
Training Module 1.1
Introduction to Commercial Building Energy Auditing

## Slide 2
What is a Commercial Building Energy Audit?

## Slide 3
Commercial Buildings

## Slide 4
Terminology
Energy Audit
Energy Assessment
Energy Analysis
Energy Survey
Energy Evaluation

## Slide 5
Levels of Effort
Level 1 Walk-Through Analysis
Level 2 Energy Survey Analysis
Level 3 Detailed Analysis of Capital Intense Modifications
“Targeted Audits”

## Slide 6
Preliminary Energy Use Analysis
ECI Energy Cost Index ($/square foot/year)
EUI Energy Utilization Index (kBtu/square foot/year)

## Slide 7
Level 1 – Walk Through Survey
Establish energy savings potential
Prioritize measures for Level 2 and
Level 3 analysis

## Slide 8
Level 2 – Energy Survey and Analysis
Energy End Use
EEMs Energy Efficiency Measures
O&M Operation and Maintenance
Procesures

## Slide 9
Level 3 – Detailed Analysis of Capital-Intense Modifications
Energy Modeling
Life Cycle Cost Analysis

## Slide 10
Targeted Audits
Data logging
Trend data

## Slide 11
Conclusion
ASHRAE Procedures for Energy Audits, Figure 1 page 7