## Slide 1
Commercial Buildings Energy Assessment Program
Training Module 5.1
Introduction to Vapor Compression Refrigeration

## Slide 2
Vapor Compression Refrigeration
What are the major components of the vapor compression refrigeration cycle.
How refrigeration commonly used in HVAC systems
COP and EER

## Slide 3
Vapor Compression Refrigeration
4 Major Components
Compressor
Condenser
Expansion Device
Evaporator

## Slide 4
Vapor Compression Refrigeration

## Slide 5
Vapor Compression Refrigeration
What happens in the Evaporator?

## Slide 6
Vapor Compression Refrigeration
What happens in the Condenser?

## Slide 7
Vapor Compression Refrigeration

## Slide 8: Vapor Compression Refrigeration Cycle
A
B
C
D
High Temp,
High Press.
Sat. Liquid ~120 F
Low Pressure
Low Temp 2-phase
Refrigerant ~40 F
expansion device
High Temp,
High Press.
Vapor ~130 F
Low Temp,
Low Press.
Saturated Vapor
  ~45F-48 F
HEAT ABSORBED
evaporator
compressor
WORK
condenser
HEAT REJECTED

## Slide 9
Vapor Compression Refrigeration

## Slide 10
Vapor Compression Refrigeration

## Slide 11: Refrigerant-to-Water Heat Exchanger
coaxial
refrigerant-to-water
heat exchanger
Notes: The refrigerant-to-water heat exchanger may be a tube-in-tube, tube-in-shell, or brazed-plate design. The example shown here is a tube-in-tube, or coaxial, heat exchanger. It is constructed as a small tube running inside another larger tube. The water flows through the inner tube and refrigerant flows through the outer tube.
In the cooling mode, the refrigerant-to-water heat exchanger acts as the condenser. The water flowing through the inner tube absorbs heat from the refrigerant flowing through the outer tube. In the heating mode, it acts as the evaporator and the refrigerant absorbs heat from the water.

## Slide 12
Single bundle
The single-bundle heat-reclaim chiller is used for non-potable-water applications, such as building heating and process water. An onboard control system maintains the temperature of “hot” water leaving the condenser while simultaneously producing chilled water
FIGURE 6. A heat-reclaim chiller is similar to a conventional “cold-water” chiller, but modified to optimize heat recovery.
Heat Pumps Water – Water

## Slide 13
Vapor Compression Refrigeration
Heat Pumps Water – Water

## Slide 14
Vapor Compression Refrigeration
EER and COP
EER Energy Efficiency Ratio
EER = Useful Cooling Capacity (Btu/hr)
Power Input (Watts)
COP Coefficient of Performance
COP = Useful Cooling Capacity (Btu/hr)
Power Input (Btu/hr)