## Sheet1
[5 empty] | Electrical Use | Electrical Cost | Electrical Savings | Elec Cost Savings | Gas Use | Gas Cost | Gas Savings | Gas Cost Savings | Total Savings | EUI | Total Utility Cost | Measure Cost | Simple Payback
[5 empty] | kWh |  | kWh |  | Therms |  | Therms | [5 empty] | Years
Electric Cost per kWh | 0.075 |  | Baseline |  | 869010 | 65175.75 |  |  | 20440 | 16352 |  |  |  | 47.4165 | 81527.75 | na
Gas Cost per Therm | 0.8 |  | EEM #1 | Lighting Upgrade | 753390 | 56504.25 | 115620 | 8671.5 | 21907 | 17525.6 | -1467 | -1173.6 | 7497.9 | 41.1085 | 74029.85 | 93750 | 12.5035
|  |  | EEM #2 | Boiler Replace | 871340 | 65350.5 | -2330 | -174.75 | 15726 | 12580.8 | 4714 | 3771.2 | 3596.45 | 47.5428 | 77931.3 | 12000 | 3.3366
|  |  | EEM #3 | New Windows | 834860 | 62614.5 | 34150 | 2561.25 | 15735 | 12588 | 4705 | 3764 | 6325.25 | 45.5525 | 75202.5 | 320000 | 50.5909
|  |  | EEM #4 | Variable Speed Pumps | 849650 | 63723.75 | 19360 | 1452 | 20490 | 16392 | -50 | -40 | 1412 | 46.3602 | 80115.75 | 11000 | 7.7904
|  |  | Totals |  |  |  | 166800 | 12510 |  |  | 7902 | 6321.6
|  |  | EEMs Combined |  | 704620 | 52846.5 | 164390 | 12329.25 | 13327 | 10661.6 | 7113 | 5690.4 | 18019.65 | 38.4462 | 63508.1
Conversion Factors
1 kWh = 3410 Btu
1 Therm = 100,000 Btu
1,000 Btu = 1 Btu
Building Area = | 62500 | sq. ft.
`
EUI = (Elec kBtu + Gas kBtu)/ floor Area